## Intro
INTRODUCTION
AEA_DifTPAB_v04.xls spreadsheet has been designed by AEA Energy & Environment to assist Diffusion Tube users in calculating the Precision and Accuracy (Bias) of their co-location studies. It also helps in adjusting diffusion tube results using the bias adjustment calculated.
A new feature of this spreadsheet is the introduction of precision and 95% confidence intervals in Bias Adjustment calculations. These are important calculations needed when working with passive diffusion tubes. Precision can be used as a quality check on the diffusion tube data and confidence invervals give an idea of the uncertainty to both your Bias Adjustment Factor and your diffusion tube results.
AEA's DifTPrecisionAccuracyBias spreadsheet contains the following sheets:
'Instructions' sheet is intended to give instructions and background to the different calculations in this spreadsheet.
'Precision & Accuracy' sheet assists in calculating the precision of any campaign with duplicate or triplicate exposure.
Moreover, if the site has been co-located against a reference method, the user will be able to calculate the accuracy of the co-location study by means of the Bias Adjustment Factor A and Diffusion Tube Bias B (as per LAQM. TG(03)). Period results with data for only one tube will be ignored from the calculations.
'Single Tube Adjustment' sheet assists the user in bias adjusting single tube surveys using the calculations in the previous spreadsheet.
This will use the accuracy (bias) results obtained using all the data.
'Multiple Tubes Adjustment' sheet assists the user in bias adjusting tubes using the calculations in the previous spreadsheet.
These calculations take into account whether the site to be corrected used duplicate or triplicate & calculates the precision of that survey.
The user needs to be cautious when adjusting diffusion tubes and latest guidance/recommendations should be used.
All data are expressed in µgm-3 and includes 95% confidence intervals
| Developed by |  | "Change zoom to suit your screen specifications"
| Jaume Targa | AEA Energy & Environment
| Acknowledgements |  |  | Contact for enquiries: LAQM Helpdesk
| John Abbott | AEA Energy & Environment |  | LAQMHelpdesk@uk.bureauveritas.com
| Carles Barceló i Vidal | Universitat de Girona |  | Version 04 - February 2011

## Instructions
INSTRUCTIONS
Throughout both sheets, please fill in appropriate yellow boxes
This sheet is intended to give instructions and background to the different calculations in this spreadsheet. It contains information on:
| Calculating Precision and Accuracy (bias) | [5 empty] | "Change zoom to suit your screen specifications"
Adjusting Diffusion Tube Results
"Precision & Accuracy" sheet
There are different calculations carried out in the 'Precision & Accuracy' sheet. Having entered the data for triplicates or duplicate in the yellow cells, the Average, the Standard Deviation, the Coefficient of Variation (CV) and the 95% Confidence Intervals (CI) of the mean are automatically calculated.
Precision of Diffusion Tubes
The CV of the diffusion tube replicates represents their precision. This value is used to carry out a data quality check on the replicates for each period.When the CV of a single period is above 20%, the period measurement is considered of poor precision. All others, below 20%, are considered of good precision. The average CV of the different periods of monitoring is used to assess the overall precision of the survey. It is considered that if the average CV is above 10%, the survey is of poor precision. This should be taken into account when forming conclusions about the co-location study.
Automatic Monitoring data - quality check
Quality checks for the automatic monitoring data are carried out as well. Having entered the data (period means and data capture (DC)), those periods with poor data capture (below 75%) are highlighted. The periods with poor DC will not be used in subsequent calculations. If the DC of the overall period is below 90% the survey is considered of poor data capture. This should be taken into account when forming conclusions about the survey and/or the co-location study (It is important to check the % DC of the periods used in calculating the accuracy of the survey - Accuracy boxes).
Accuracy of Diffusion Tubes
The accuracy of the co-location study is calculated by means of the Bias Adjustment Factor A and Diffusion Tube Bias B. For these calculations, period means from the automatic monitoring station with DC lower than 75%, are excluded from all calculations.
In relation to the tube results, the Bias Adjustment Factor A and Diffusion Tube Bias B are calculated in two different ways:
a) Excluding replicate data with poor precision (Blue box) and
b) Including all data (Orange box).
Accuracy without triplicates with CV > 20%.
Outlier tubes are common in diffusion tube datasets. Individual outlier tubes are statistically difficult to identify with 3 replicates (triplicate). Triplicates with poor precision highlight those that might contain outliers. However, it is not possible to identify individual outliers. In order to be consistent throughout the calculations, those triplicates identified with poor precision are excluded.
Accuracy with all diffusion tube data
In contrast with the above, the orange accuracy box uses all the data entered to calculate the Bias Adjustment Factor A and the DT Bias B.
As can be seen in the figure below, the following is calculated and summarised in the Accuracy boxes:
Number of periods of data used in the calculations |  |  |  | Bias Adjustment Factor A
Diffusion Tube Measurement Mean |  |  |  | Diffusion Tube Bias B
Average precision of DT data used (warning sign will appear if above 10%) |  |  |  | Average of Automatic Monitoring Station
Adjusted Tubes Average |  |  |  | Data Capture of Automatic data
Go back to the top
Adjusting Diffusion Tube Results
Having calculated the accuracy of your local co-location study, the Single Tube and Multiple Tubes Adjustment sheets are designed to assist in bias adjusting tubes.
Single Tube Adjustment
This sheet will assist in bias adjusting monitoring surveys with single tubes. It uses the bias adjustment values calculated in the "Precision & Accuracy" sheet. The Bias Factor A and Bias B calculated from ALL DATA (orange box) is applied to the single tubes. Data screening due to poor precision has not been applied as it is not possible to identify outlier tubes from single exposed surveys. The Bias Factor A and Bias B used is summarised at the top of the adjusted measurements (with 95% CI) for each single site
.
Multiple Tubes Adjustment
This sheet will assist in bias adjusting monitoring surveys with multiple tubes (duplicates or triplicates). Having entered the data for the monitoring site to be adjusted, the precision of each duplicate/triplicate is checked by means of CV. Periods with poor precision are identified and highlighted in the "Diffusion Tubes Precision Check" column.
Data is adjusted in two different ways:
a) Excluding replicate data with poor precision (Blue box) and
b) Including all data (Orange box).
As can be seen in the figure below, the following is calculated and summarised in the adjusted measurement boxes:
Summary of co-location study including the number of periods used to calculate bias, tube precision and data capture for automatic station
Bias Adjustment Factor A & Bias B with 95% confidence interval
Average precision of DT data used
Diffusion Tube Measurement Mean
Adjusted Tubes Average with 95% CI

## Precision & Accuracy
Checking Precision and Accuracy of Triplicate Tubes
Diffusion Tubes Measurements | [10 empty] | Automatic Method |  |  | Data Quality Check
Period | Start Date dd/mm/yyyy | End Date dd/mm/yyyy | Tube 1 µgm-3 | Tube 2 µgm-3 | Tube 3 µgm-3 | Triplicate Mean | Standard Deviation | Coefficient of Variation (CV) | 95% CI of mean |  | Period Mean | Data Capture (% DC) |  | Tubes Precision Check | Automatic Monitor Data Capture Check | [5 empty] | Data Capture
1 | [20 empty] | *
2 | [20 empty] | *
3 | [20 empty] | *
4 | [20 empty] | *
5 | [20 empty] | *
6 | [20 empty] | *
7 | [20 empty] | *
8 | [20 empty] | *
9 | [20 empty] | *
10 | [20 empty] | *
11 | [20 empty] | *
12 | [20 empty] | *
13 | [20 empty] | *
It is necessary to have results for at least two tubes in order to calculate the precision of the measurements | [12 empty] | Overall survey --> | #DIV/0! | #DIV/0! |  |  | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
Site Name/ ID: | [6 empty] | Precision | 0 out of 0 periods have a CV smaller than 20% | [5 empty] | (Check average CV & DC from Accuracy calculations) |  |  |  | #DIV/0! | #DIV/0!
| Accuracy |  |  |  | (with 95% confidence interval) |  | Accuracy |  |  |  | (with 95% confidence interval)
| without periods with CV larger than 20% | [5 empty] | WITH ALL DATA | [6 empty] | Without CV>20% | With all data
| Bias calculated using 0 periods of data | [5 empty] | Bias calculated using 0 periods of data | [6 empty] | #DIV/0! | #DIV/0!
|  | Bias factor A | #DIV/0! |  |  |  |  | Bias factor A | #DIV/0! |  |  |  |  | #VALUE! | #VALUE!
|  | Bias B | #DIV/0! |  |  |  |  | Bias B | #DIV/0!
|  | Diffusion Tubes Mean: | #DIV/0! | µgm-3 |  |  |  | Diffusion Tubes Mean: | #DIV/0! | µgm-3
|  | Mean CV (Precision): | #DIV/0! |  | #DIV/0! |  |  | Mean CV (Precision): | #DIV/0! |  | #DIV/0!
|  | Automatic Mean: | #DIV/0! | µgm-3 |  |  |  | Automatic Mean: | #DIV/0! | µgm-3
|  |  | Data Capture for periods used: | #DIV/0! | #DIV/0! |  |  |  | Data Capture for periods used: | #DIV/0! | #DIV/0!
|  | Adjusted Tubes Mean: | #DIV/0! |  | µgm-3 |  |  | Adjusted Tubes Mean: | #DIV/0! |  | µgm-3 |  |  |  | Jaume Targa, for AEA
Version 04 - February 2011
[11 empty] | Reference over tube | [7 empty] | Tube over reference
Period | Triplicate Average | Reference Conc+ | Tube 1 µgm-3 | Tube 2 µgm-3 | Tube 3 µgm-3 | Average | Montlhly df | Coefficient of Variation (CV) | STDEV ^2 * df | Period Mean | Ref/Tub_1 | Ref/Tub_2 | Ref/Tub_3 | Average Ref/Tub |  | STDEV ^2 | STDEV ^2 * df | Data Capture | Tub/Ref_1 | Tub/Ref_2 | Tub/Ref_3 | Average Ref/Tub |  | STDEV ^2 * df | Cm | Dm
1 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
2 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
3 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
4 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
5 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
6 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
7 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
8 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
9 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
10 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
11 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
12 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
13 | Poor Data | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
| #DIV/0! | #DIV/0! |  |  | Average | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | Average= | #DIV/0! | #DIV/0! | sm | se | se | #DIV/0! |  | Average= | #DIV/0! | #DIV/0! | sm | se | #DIV/0! | #DIV/0!
|  |  |  | Stdev monthly means | Stdev monthly means | #DIV/0! | se |  | #DIV/0! |  |  | Stdev= | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | Stdev= | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | #DIV/0! |  | N= | 0 | [5 empty] | N= | 0 | 0 | #DIV/0! |  |  |  |  | N= | 0 | 0 | #DIV/0! |  | #DIV/0! | #DIV/0!
[5 empty] | 95% CI | #VALUE! | [5 empty] | 95% CI | #VALUE! | #VALUE! | [5 empty] | 95% CI | #VALUE! | #VALUE! | #DIV/0! |  | #DIV/0! | #DIV/0!
[12 empty] | #VALUE! | #VALUE! | [9 empty] | #DIV/0!
[11 empty] | Reference over tube | [7 empty] | Tube over reference
Period | Triplicate Average | Reference Conc+ | Tube 1 µgm-3 | Tube 2 µgm-3 | Tube 3 µgm-3 | Average | Montlhly df | Coefficient of Variation (CV) | STDEV ^2 * df | Period Mean | Ref/Tub_1 | Ref/Tub_2 | Ref/Tub_3 | Average Ref/Tub |  | STDEV ^2 | STDEV ^2 * df | Data Capture | Tub/Ref_1 | Tub/Ref_2 | Tub/Ref_3 | Average Ref/Tub |  | STDEV ^2 * df | Cm | Dm
1 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
2 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
3 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
4 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
5 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
6 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
7 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
8 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
9 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
10 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
11 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
12 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
13 |  | Poor Data | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | * | *
[5 empty] | Average | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | Average= | #DIV/0! | #DIV/0! | sm | se | se | #DIV/0! |  | Average= | #DIV/0! | #DIV/0! | sm | se | #DIV/0! | #DIV/0!
|  |  |  | Stdev monthly means | Stdev monthly means | #DIV/0! | se |  | #DIV/0! |  |  | Stdev= | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | Stdev= | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[5 empty] | N= | 0 | [5 empty] | N= | 0 | 0 | #DIV/0! |  |  |  |  | N= | 0 | 0 | #DIV/0! |  | #DIV/0! | #DIV/0!
[5 empty] | 95% CI | #VALUE! | [5 empty] | 95% CI | #VALUE! | #VALUE! | [5 empty] | 95% CI | #VALUE! | #VALUE! |  |  | #DIV/0! | #DIV/0!
[12 empty] | #VALUE! | #VALUE!
Period | Triplicate Average | Reference Conc+ | Tube 1 µgm-3 | Tube 2 µgm-3 | Tube 3 µgm-3 | Average | [10 empty] | CV
1 | Poor Data |  | * | * | * | * | * | * |  |  | N= | 0
2 | Poor Data |  | * | * | * | * | * | * |  |  |  | #DIV/0! | se | se
3 | Poor Data |  | * | * | * | * | * | * |  |  | S | #DIV/0! | #DIV/0! | #DIV/0!
4 | Poor Data |  | * | * | * | * | * | * |  |  | Stdev monthly means | #DIV/0!
5 | Poor Data |  | * | * | * | * | * | * |  |  | Sm | #DIV/0!
6 | Poor Data |  | * | * | * | * | * | * |  |  | 95% CI | #VALUE! | 4.3512
7 | Poor Data |  | * | * | * | * | * | *
8 | Poor Data |  | * | * | * | * | * | * |  |  |  |  | #DIV/0! | +/- | #DIV/0!
9 | Poor Data |  | * | * | * | * | * | * |  |  |  |  | #DIV/0! | +/- | #VALUE!
10 | Poor Data |  | * | * | * | * | * | *
11 | Poor Data |  | * | * | * | * | * | *
12 | Poor Data |  | * | * | * | * | * | *
13 | Poor Data |  | * | * | * | * | * | *
|  |  |  | Average= | #DIV/0! | #DIV/0! | 0 | #DIV/0! | Se | [6 empty] | Average: | #DIV/0!
[7 empty] | S | #DIV/0! | #DIV/0!
|  |  | 0 |  | N= | 0 | Stdev monthly means | #DIV/0!
[7 empty] | Sm | #DIV/0!
[7 empty] | 95% CI | #VALUE! |  |  |  | 1 | 2 | 3 | 4
[11 empty] | without C2 & k2 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | with | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[12 empty] | #DIV/0! | #DIV/0!
[12 empty] | #VALUE! | #VALUE!
#DIV/0!
Period | Triplicate Average | Reference Conc+ | Tube 1 µgm-3 | Tube 2 µgm-3 | Tube 3 µgm-3 | Average | [10 empty] | CV
1 | Poor Data |  | * | * | * | * | * | * | * |  | N= | 0
2 | Poor Data |  | * | * | * | * | * | * | * |  |  | #DIV/0! | se | se
3 | Poor Data |  | * | * | * | * | * | * | * |  | S | #DIV/0! | #DIV/0! | #DIV/0!
4 | Poor Data |  | * | * | * | * | * | * | * |  | Stdev monthly means | #DIV/0!
5 | Poor Data |  | * | * | * | * | * | * | * |  | Sm | #DIV/0!
6 | Poor Data |  | * | * | * | * | * | * | * |  | 95% CI | #VALUE! | 4.3512
7 | Poor Data |  | * | * | * | * | * | * | *
8 | Poor Data |  | * | * | * | * | * | * | * |  |  |  | #DIV/0! | +/- | #DIV/0!
9 | Poor Data |  | * | * | * | * | * | * | * |  |  |  | #DIV/0! | +/- | #VALUE!
10 | Poor Data |  | * | * | * | * | * | * | *
11 | Poor Data |  | * | * | * | * | * | * | *
12 | Poor Data |  | * | * | * | * | * | * | *
13 | Poor Data |  | * | * | * | * | * | * | *
|  |  |  | Average= | #DIV/0! | #DIV/0! | 0 | #DIV/0! | Se | [6 empty] | Average: | #DIV/0!
[5 empty] | Sm | #DIV/0! | S | #DIV/0! | #DIV/0!
0
[7 empty] | Sm | #DIV/0!
[7 empty] | 95% CI | #VALUE! |  |  |  | 1 | 2 | 3 | 4
[11 empty] | without C2 & k2 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[11 empty] | with | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
#DIV/0!
#VALUE!
If you have any enquiries about this spreadsheet please contact the LAQM Helpdesk at: | [8 empty] | LAQMHelpdesk@uk.bureauveritas.com
Note on D4: To maintain the spreadsheet format, use Edit > Paste special… > select Values
Note on G96: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on G121: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on H21: Reminder note: The bias adjustment calculations in this blue box uses the diffusion tube data entered for periods with CV lower than 20%. These calculations are useful if you need to adjust non co-located sites with duplicates or more tubes exposed at each site (see "Multiple Tubes Adjustment" sheet). If you need to adjust single tubes, you need to use the data from the orange box.
Note on H53: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on H74: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on J97: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on J122: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on N4: To maintain the spreadsheet format, use Edit > Paste special… > select Values
Note on N21: Reminder note: The bias adjustment calculations in this orange box uses all the diffusion tube data entered above (including those periods with poor precision) These calculations are useful if you need to adjust non co-located sites with a single tube exposed at each site as it is assumed that similar uncertainties will be included in the single tube data (see "Single Tubes Adjustment" sheet)
Note on N85: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on N110: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on O53: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on O54: Jaume_Targa: t2(0.05, n-1)*s2mC2/n
Note on O74: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on O75: Jaume_Targa: t2(0.05, n-1)*s2mC2/n
Note on P54: Jaume_Targa: t2(0.05, n*2)*s2eC2/(n*3)
Note on P75: Jaume_Targa: t2(0.05, n*2)*s2eC2/(n*3)
Note on Q4: Period triplets with a coefficient of variation (CV) greater than 20% are considered of poor precision. Surveys are considered of poor precision when: a) monthly CVs are often above 20% (more than 5 months out of 12) or b) the average for the whole survey is above 10%.
Note on Q18: Surveys are considered of poor precision when: a) monthly CVs are often above 20% (maybe 4-5 months out of 12) or b) the average CV for the whole survey is above 10% (There might be the odd case when 1 or 2 months have very poor precicion, increasing the overall CV average).
Note on Q51: Jaume_Targa: s
Note on Q72: Jaume_Targa: s
Note on R4: Periods are considered of poor data capture when this is below 75%. Periods with DC below 75% are not used in any of the calculations.
Note on R18: Surveys are considered of poor data capture when DC is lower than 90%.
Note on R97: Jaume_Targa: This element was eliminated from the formula due incorporating the actual monthly variation into the formula.
Note on W53: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on W74: carles barceló: uan la mostra és petita, els càlculs dels intervals de confiança s'han de fer a partir de la distribució t-Student i no, com feies tu, a partir de la distribució normal.
Note on Y51: Jaume_Targa: s
Note on Y72: Jaume_Targa: s

## Single Tube Adjustment
Adjustment of SINGLE Tubes
Adjusted measurement (95% confidence interval)
| Diffusion Tube Measurements | [15 empty] | with all the data
0 periods used in this calcuations
| Site Name/ID | Periods | [12 empty] | Raw Mean | Valid periods |  | Bias Factor A | #DIV/0!
[18 empty] | Bias B | #DIV/0!
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |  |  | Tube Precision: | #DIV/0! | #DIV/0!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
[18 empty] | Adjusted with 95% CI |  | #VALUE!
The bias adjustment factor used in these calculations include all the data and no screening of data due to poor precision has been applied.

## Multiple Tubes Adjustment
Adjustment of DUPLICATE or TRIPLICATE Tubes
Diffusion Tubes Measurements | [10 empty] | Data Quality Check
Period | Start Date dd/mm/yyyy | End Date dd/mm/yyyy | Tube 1 µgm-3 | Tube 2 µgm-3 | Tube 3 µgm-3 | Triplicate Average | Standard Deviation | CV | 95% CI mean |  | Diffusion Tubes Precision Check
1
2
3
4
5
6
7
8
9
10
11
12
13
It is necessary to have results for at least two tubes in order to calculate the precision of the measurements | [12 empty] | Jaume Targa, for AEA
Site Name/ ID: | [12 empty] | Version 04 - February 2011
Adjusted measurement |  |  |  |  | (95% confidence level) |  | Adjusted measurement | [5 empty] | (95% confidence level)
Without periods with CV larger than 20% | [6 empty] | with all data
Bias calculated using 0 periods of data | [6 empty] | Bias calculated using 0 periods of data
Tube Precision: |  | #DIV/0! | #DIV/0! |  |  |  |  | Tube Precision: | #DIV/0! | #DIV/0!
| Bias factor A: | #DIV/0! | [5 empty] | Bias factor A: | #DIV/0!
| Bias B: | #DIV/0! | [5 empty] | Bias B: | #DIV/0!
Information about tubes to be adjusted | [6 empty] | Information about tubes to be adjusted
|  | Diffusion Tube average: | #DIV/0! | µgm-3 | [5 empty] | Diffusion Tube average: | #DIV/0! | µgm-3
Average Precision (CV): |  |  | #DIV/0! | [6 empty] | Average Precision (CV): | #DIV/0!
|  | Adjusted Tube average: | #DIV/0! | µgm-3 | [5 empty] | Adjusted Tube average: | #DIV/0! | µgm-3