2011 Air Quality Progress Report for

Stirling Council

In fulfillment of Part IV of the Environment Act 1995 Local Air Quality Management

Date October 2011

| Local Authority Officer | Anne Fitzsimons |
| --- | --- |

| Department | Environmental Health |
| --- | --- |
| Address | Viewforth, Stirling |
| Telephone | 01786 442918 |
| e-mail | fitzsimonsa@stirling.gov.uk |

| Report Reference number | STI-PR-10 |
| --- | --- |
| Date | 30 September 2011 |

Executive Summary

The 2011 Progress Report for Stirling Council followed the guidance in TG09 Technical Guidance. New monitoring data for NO2 and PM10 was analysed to determine if any air quality objectives had been exceeded during 2010. All concentrations were found to be below the objectives.

New sources of atmospheric emissions were investigated and assessed to determine if any sources would cause an exceedence of air quality objectives for any pollutant.

It was determined that there were no new emission sources, or sources that had not been previously assessed, that could result in air quality objectives being exceeded.

Overall, it was concluded that there is no requirement to proceed to a Detailed  Assessment for any pollutant at present. The next report to be completed will be the 2012 Updating and Screening Assessment.

Table of contents

1	Introduction	5

1.1	Description of Local Authority Area	5

1.2	Purpose of Progress Report	5

1.3	Air Quality Objectives	5

1.4	Summary of Previous Review and Assessments	7

2	New Monitoring Data	8

2.1	Summary of Monitoring Undertaken	8

2.2	Comparison of Monitoring Results with Air Quality Objectives	12

3	New Local Developments	19

3.1	Road Traffic Sources	19

3.2	Other Transport Sources	19

3.3	Industrial Sources	19

3.4	Commercial and Domestic Sources	20

3.5	New Developments with Fugitive or Uncontrolled Sources	20

4	Local / Regional Air Quality Strategy	21

5	Planning Applications	22

6	Air Quality Planning Policies	24

7	Local Transport Plans and Strategies	25

8	Climate Change Strategies	26

9	Implementation of Action Plans	27

10	Conclusions and Proposed Actions	28

10.1	Conclusions from New Monitoring Data	28

10.2	Conclusions relating to New Local Developments	28

10.3	Other Conclusions	28

10.4	Proposed Actions	28

11	References	29

Appendices

Appendix A: QA/QC Data

Appendix B: Maps of Stirling Council area and monitoring locations

Appendix C: Tables of NO2 diffusion tube results and bias adjustment calculations

List of Tables

Tables for NO2 bias adjustment calculations

List of Figures

Map of Stirling Council area

Map of NO2 diffusion tube sites

Map of PM10 monitoring locations

# Introduction

## Description of Local Authority Area

Stirling Council is located in the centre of Scotland and covers approximately 2,196 square kilometres. The Council is bordered by East Dunbartonshire Council to the south west, West Dunbartonshire Council to the west, Argyll and Bute Council to the north-west, Perth and Kinross Council to the north, Clackmannanshire Council and Falkirk Council to the east and North Lanarkshire Council to the south. A map of Stirling Council is provided in Figure 1.

The population of the Stirling Council area is approximately 86,000 with the majority of the residents based in or around Stirling in the urbanised region of the south east. The main population centres are Stirling, Cowie, Callander, Bridge of Allan, Dunblane and Aberfoyle. The north and western part of Stirling Council area is largely rural with a few small population centres in Killin, Kippen, Buchlyvie, Lochearnhead, Gartmore and Balfron. The majority of industrial and commercial businesses are based in the south-eastern area around Stirling, Cowie, Bridge of Allan and Dunblane. Stirling Council covers a large area extending from the densely populated central belt to the foothills of the Grampian Mountains. The south-eastern part of the council area is relatively flat and encompasses the upper section of the Forth Valley, which is aligned east-west. The eastern border of the Council area is marked by the Ochil Hills. The southern boundary of the Council area is marked by the Campsie Hills and Kilsyth Hills. The northern and western areas of Stirling Council area have relatively complex terrain including several lochs, forests and Munros.

## Purpose of Progress Report

Progress Reports are required in the intervening years between the three-yearly Updating and Screening Assessment reports. Their purpose is to maintain continuity in the Local Air Quality Management process.

They are not intended to be as detailed as Updating and Screening Assessment Reports, or to require as much effort. However, if the Progress Report identifies the risk of exceedence of an Air Quality Objective, the Local Authority (LA) should undertake a Detailed Assessment immediately, and not wait until the next round of Review and Assessment.

## Air Quality Objectives

The air quality objectives applicable to LAQM in Scotland are set out in the Air Quality (Scotland) Regulations 2000 (Scottish SI 2000 No 97), the Air Quality (Scotland) (Amendment) Regulations 2002 (Scottish SI 2002 No 297), and are shown in Table 1.1. This table shows the objectives in units of microgrammes per cubic metre, (g/m3 (milligrammes per cubic metre, mg/m3 for carbon monoxide) with the number of exceedences in each year that are permitted (where applicable).

Table 1.1	 Air Quality Objectives included in Regulations for the purpose of Local Air Quality Management in Scotland.

| Pollutant |  | Date to be achieved by |
| --- | --- | --- |
|  | Concentration | Measured as |  |
| Benzene | 16.25 µg/m3 | Running annual mean | 31.12.2003 |
|  | 3.25 µg/m3 | Running annual mean | 31.12.2010 |
| 1,3-Butadiene | 2.25 µg/m3 | Running annual mean | 31.12.2003 |
| Carbon monoxide | 10.0 mg/m3 | Running 8-hour mean | 31.12.2003 |
| Lead | 0.5 µg/m3 | Annual mean | 31.12.2004 |
|  | 0.25 µg/m3 | Annual mean | 31.12.2008 |
| Nitrogen dioxide | 200 µg/m3 not to be exceeded more than 18 times a year | 1-hour mean | 31.12.2005 |
|  | 40 µg/m3 | Annual mean | 31.12.2005 |
| Particles (PM10) (gravimetric) | 50 µg/m3, not to be exceeded more than 35 times a year 50 µg/m3, not to be exceeded more than 7 times a year | 24-hour mean 24-hour mean | 31.12.2004 31.12.2010 |
|  | 40 µg/m3 18 µg/m3 | Annual mean Annual mean | 31.12.2004 31.12.2010 |
| Sulphur dioxide | 350 µg/m3, not to be exceeded more than 24 times a year | 1-hour mean | 31.12.2004 |
|  | 125 µg/m3, not to be exceeded more than 3 times a year | 24-hour mean | 31.12.2004 |
|  | 266 µg/m3, not to be exceeded more than 35 times a year | 15-minute mean | 31.12.2005 |

## Summary of Previous Review and Assessments

Stirling Council submitted an Updating and Screening Assessment (U&SA) in April 2006. The report concluded that there was unlikely to be an exceedence of the AQS objectives at locations of relevant public exposure. The measured NO2 annual mean concentration at Port Street in Stirling was, however, close to the AQS objective. It was also identified that two industrial sites had reduced or were proposing a reduction in atmospheric emissions. The report also highlighted that due to proposed commercial and domestic developments in the Stirling area there was likely to be an increase in road traffic flows in the south-east of the Council area.

The Progress Report in 2007 identified that annual mean pollutant concentrations at Port Street remained close to the objective; however, the site had a low data capture rate and so the results were not considered to be reliable. It was, therefore, recommended that additional monitoring be undertaken. PM10 concentrations at Craigs Roundabout were determined to be at risk of exceeding the 2010 annual mean objective. Further monitoring and a re-evaluation of the results in 2008 was recommended. The main air quality concerns within the Stirling Council area were the elevated concentrations of NO2 and PM10 along the A9 and A84 in central Stirling, which were primarily due to road traffic emissions. Although previously measured concentrations were below AQS objectives at locations of relevant public exposure, concentrations were close to the objective limits.

The Progress Report in 2008 found that the results of the NO2 monitoring indicated that it was unlikely that the air quality objectives would be exceeded. The PM10 monitoring did, however, identify a risk of the 2010 annual mean objective being exceeded at Craigs Roundabout, based on a forward projection of 2007 annual mean measured concentrations. However, the exceedence was predicted only when the 1.3 adjustment factor had been applied. Based on the updated industrial, domestic, commercial and road traffic information, it was concluded to be unlikely that any other AQS objective would be exceeded in the Stirling Council area.

The 2010 Progress Report for Stirling Council found that the only exceedence of an air quality objective within the Council area was at Craigs Roundabout where the levels of PM10 exceeded the 2010 objective of 18μg/m3 by 1μg/m3. However, concentrations of PM10 had probably been increased due to extensive demolition work close to the monitoring location. Further monitoring was to be carried out to determine if this was the case. New sources of atmospheric emissions were investigated and assessed to determine if any sources would cause an exceedence of air quality objectives for any pollutant. It was determined that there were no new emission sources, or sources that had not been previously assessed, that could result in air quality objectives being exceeded.

Overall, it was concluded that there was no requirement to proceed to a Detailed Assessment for any pollutant.

# New Monitoring Data

## Summary of Monitoring Undertaken

### Automatic Monitoring Sites

Stirling Council operates two automatic analysers. One is located at Craigs Roundabout and one at Main Street, Cowie. At Craigs Roundabout, there is a chemiluminescence NOx automatic analyser and a Tapered Element Oscillating Microbalance (TEOM) analyser. At Main Street, Cowie, there is an OSIRIS light scattering monitor. Details of the automatic monitoring sites are presented in Table 2.1. The locations of all monitoring locations (automatic and non-automatic) within the Council area are presented in Figures 2 and 3 in Appendix B. There were no changes to the automatic monitoring sites during 2010.

Figure 2.1 Map of Automatic Monitoring Sites

See Appendix B

| Site Name | Site Type | OS Grid Ref | Pollutants Monitored | Monitoring Technique | In AQMA? | Relevant Exposure? (Y/N with distance (m) to relevant exposure) | Distance to kerb of nearest road (N/A if not applicable) | Does this location represent worst-case exposure? |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

##### Table 2.1	Details of Automatic Monitoring Sites

| Craigs Roundabout | Roadside | 279944 | 693005 | NO2, | NOx | N | Y (10m) | 3m | Y |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Craigs Roundabout | Roadside | 279944 | 693005 | PM10 | TEOM | N | Y (10m) | 3m | Y |
| Main Street, Cowie | Industrial | 283579 | 689017 | PM10 | OSIRIS | N | Y (1m) | N/A | Y |

### Non-Automatic Monitoring Sites

Figure 2.2 Map of Non-Automatic Monitoring Sites

See Appendix B

##### Table 2.2	Details of Non-Automatic Monitoring Sites

| Site Name | Site Type | OS Grid Ref | Pollutants Monitored | In AQMA? | Relevant Exposure? (Y/N with distance (m) to relevant exposure) | Distance to kerb of nearest road (N/A if not applicable) | Worst-case Location? |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Dumbarton Road, Stirling | Kerbside | 279655 | 693240 | NO2 | N | Y (2m) | 0.5m | Y |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Port Street, Stirling | Kerbside | 279634 | 693160 | NO2 | N | Y (2m) | 0.5m | Y |
| Craigs Roundabout (1) | Roadside | 279987 | 693043 | NO2 | N | N | 2m | Y |
| Craigs Roundabout (2) (automatic analyser) | Roadside | 279944 | 693005 | NO2 | N | Y (10m) | 3m | Y |
| Lennox Avenue, Stirling | Urban background | 279354 | 691933 | NO2 | N | N (4m) | 1.5m | N |
| Barnsdale Road, Stirling | Roadside | 279520 | 691252 | NO2 | N | Y (18m) | 1.5m | Y |
| Main Street, Plean | Roadside | 283222 | 687582 | NO2 | N | Y (6m) | 1.5m | Y |
| Alloa Road Roundabout | Roadside | 282075 | 695057 | NO2 | N | Y (9m) | 2m | Y |
| Henderson Street, Bridge of Allan | Roadside | 279177 | 697497 | NO2 | N | Y (7m) | 1.5m | Y |
| Stirling Road, Dunblane | Roadside | 278081 | 700580 | NO2 | N | Y (8m) | 1.5m | Y |

## Comparison of Monitoring Results with Air Quality Objectives

STIRLING CRAIGS ROUNDABOUT

1st January to 31st December 2010

These data have been fully ratified by AEA

| POLLUTANT | PM10* | NO2 | NOX |
| --- | --- | --- | --- |
| Number Very High | 0 | 0 | - |
| Number High | 0 | 0 | - |
| Number Moderate | 0 | 0 | - |
| Number Low | 8649 | 7967 | - |
| Maximum 15-minute mean | 123 µg m-3 | 206 µg m-3 | 966 µg m-3 |
| Maximum hourly mean | 123 µg m-3 | 183 µg m-3 | 860 µg m-3 |
| Maximum running 8-hour mean | 92 µg m-3 | 156 µg m-3 | 617 µg m-3 |
| Maximum running 24-hour mean | 53 µg m-3 | 125 µg m-3 | 421 µg m-3 |
| Maximum daily mean | 48 µg m-3 | 107 µg m-3 | 333 µg m-3 |
| Average | 17 µg m-3 | 32 µg m-3 | 65 µg m-3 |
| Data capture | 98.5 % | 90.9 % | 90.9 % |

* PM10 as measured by a TEOM using the VCM for Gravimetric Equivalent

All mass units are at 20°C and 1013 mb

NOX mass units are NOX as NO2 µg m-3

| Pollutant | Air Quality Regulations (2000) and Air Quality (Scotland) Amendment Regulations 2002 | Exceedences | Days |
| --- | --- | --- | --- |
| PM10 Particulate Matter (Gravimetric) | Daily mean > 50 µg m-3 | 0 | 0 |
| PM10 Particulate Matter (Gravimetric) | Annual mean > 18 µg m-3 | 0 | - |
| Nitrogen Dioxide | Annual mean > 40 µg m-3 | 0 | - |
| Nitrogen Dioxide | Hourly mean > 200 µg m-3 | 0 | 0 |

### Nitrogen Dioxide

#### Automatic Monitoring Data

##### Table 2.3a Results of Automatic Monitoring for Nitrogen Dioxide: Comparison with Annual Mean Objective

| Site ID | Location | Within AQMA? | Relevant public exposure? Y/N | Data Capture for monitoring period % | Data Capture for full calendar year 2010 % | Annual mean concentrations ((g/m3) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 2008 | 2009 | 2010 |
| 4 | Craigs Roundabout | N | Y | 90.9 | 90.9 | 29.9 | 26 | 32 |

##### Figure 2.3 Trends in Annual Mean Nitrogen Dioxide Concentration Measured at Automatic Monitoring Sites.

##### Table 2.3b Results of Automatic Monitoring for Nitrogen Dioxide: Comparison with 1-hour Mean Objective

| Site ID | Location | Within AQMA? | Relevant public exposure? Y/N | Data Capture for monitoring period % | Data Capture for full calendar year 2010 % | Number of Exceedences of hourly mean (200 (g/m3) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 2008 | 2009 | 2010 |
| 4 | Craigs Roundabout | N | Y | 90.9 | 90.9 | 0 | 0 | 0 |

#### Diffusion Tube Monitoring Data

There were no results for diffusion tube monitoring in November or December 2010 due to adverse weather conditions. A bias adjustment factor of 1.08 has been used for the 2010 results. A factor of 1.06 was used for the 2008 results and joint factors of 1.06 and 0.92 were used in 2009.

##### Table 2.4 Results of Nitrogen Dioxide Diffusion Tubes

| Site ID | Location | Within AQMA? | Relevant public exposure? Y/N | Data Capture for monitoring period % | Data Capture for full calendar year 2010 % | Annual mean concentrations ((g/m3) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 2008 | 2009 | 2010 |
| 1 | Dumbarton Road, Stirling | N | Y | 83.3 | 83.3 | 38.6 | 34.9 | 39.6 |
| 2 | Port Street, Stirling | N | Y | 75 | 75 | 37.7 | 29.8 | 30.1 |
| 3 | Craigs Roundabout (1) | N | Y | 83.3 | 83.3 | 39.1 | 33.1 | 34.7 |
| 4 | Craigs Roundabout (2) (triplicate ave.) | N | Y | 83.3 | 83.3 | 28.6 | 26.0 | 28.4 |
| 5 | Lennox Avenue, Stirling | N | Y | 83.3 | 83.3 | 22.2 | 17.4 | 17.8 |
| 6 | Barnsdale Road, Stirling | N | Y | 75 | 75 | 29.0 | 24.4 | 20.0 |
| 7 | Main Street, Plean | N | Y | 83.3 | 83.3 | 29.1 | 22.9 | 24.5 |
| 8 | Alloa Road Roundabout | N | Y | 83.3 | 83.3 | 37.2 | 28.2 | 34.5 |
| 9 | Henderson Street, Bridge of Allan | N | Y | 83.3 | 83.3 | 30.8 | 28.6 | 29.3 |
| 10 | Stirling Road, Dunblane | N | Y | 75 | 75 | 25.3 | 18.6 | 22.3 |

#### Figure 2.4 Trends in Annual Mean Nitrogen Dioxide Concentration Measured at Diffusion Tube Monitoring Sites.

### PM10

##### Table 2.5a Results of PM10 Automatic Monitoring: Comparison with Annual Mean Objective

| Site ID | Location | Within AQMA? | Data Capture for monitoring period % | Data Capture for full calendar year 2010 % | Annual mean concentrations ((g/m3) |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 2008 | 2009 | 2010 |
| 4 | Craigs Roundabout | N | 98.5 | 98.5 | 16.1 | 19 | 17 |
| 11 | Main Street, Cowie | N | 87.7 | 87.7 | 7.8 | 8.9 | 6.3 |

##### Table 2.5b Results of PM10 Automatic Monitoring: Comparison with 24-hour Mean Objective

| Site ID | Location | Within AQMA? | Data Capture for monitoring period % | Data Capture 2010 % | Number of Exceedences of daily mean objective (50 (g/m3) |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 2008 | 2009 | 2010 |
| 4 | Craigs Roundabout | N | 98.5 | 98.5 | 0 | 4 | 0 |
| 1 | Main Street, Cowie | N | 87.7 | 87.7 | 0 | 0 | 0 |

#### Figure 2.5 Trends in Annual Mean PM10.

### Sulphur Dioxide

Stirling Council does not undertake any monitoring for SO2.

### Benzene

# Stirling Council does not undertake any monitoring for benzene.

### Other pollutants monitored

Stirling Council does not undertake any monitoring for other pollutants.

### Summary of Compliance with AQS Objectives

Stirling Council has examined the results from monitoring in the district. Concentrations are all below the objectives, therefore there is no need to proceed to a Detailed Assessment.

# New Local Developments

## Road Traffic Sources

Stirling Council confirms that there are no new roads meeting the criteria outlined below.

- Narrow congested streets with residential properties close to the kerb.

- Busy streets where people may spend one hour or more close to traffic.

- Roads with a high flow of buses and/or HGVs.

- Junctions.

- New roads constructed or proposed since the last Updating and Screening Assessment.

- Roads with significantly changed traffic flows.

- Bus or coach stations.

## Other Transport Sources

Stirling Council confirms that there are no other transport sources meeting the criteria outlined below.

- Airports.

- Locations where diesel or steam trains are regularly stationary for periods of 15 minutes or more, with potential for relevant exposure within 15m.

- Locations with a large number of movements of diesel locomotives, and potential long-term relevant exposure within 30m.

- Ports for shipping.

## Industrial Sources

Stirling Council confirms that there are no new/newly identified industrial sources meeting the criteria outlined below.

- Industrial installations: new or proposed installations for which an air quality assessment has been carried out.

- Industrial installations: existing installations where emissions have increased substantially or new relevant exposure has been introduced.

- Industrial installations: new or significantly changed installations with no previous air quality assessment.

- Major fuel storage depots storing petrol.

- Petrol stations.

- Poultry farms.

## Commercial and Domestic Sources

The following biomass combustion plants are to be installed within the Stirling Council area:

Heizomat HSK-RA 150 biomass boiler at Fintry Sports Club, Fintry which will burn pellets and wood chips.

Heizomat RHK-AK 155 biomass boiler at West Gogar Farm, Gogar Road, Blairlogie which will burn wood chips.

These developments are expected to have a minimal impact on local air quality.

Stirling Council confirms that there are no other new/newly identified commercial and domestic sources meeting the criteria outlined below.

- Biomass combustion plant – individual installations.

- Areas where the combined impact of several biomass combustion sources may be relevant.

- Areas where domestic solid fuel burning may be relevant.

### New Developments with Fugitive or Uncontrolled Sources

Stirling Council confirms that there are no new/newly identified potential sources of fugitive or uncontrolled particulate matter meeting the criteria outlined below.

- Landfill sites.

- Quarries.

- Unmade haulage roads on industrial sites.

- Waste transfer stations etc.

- Other potential sources of fugitive particulate emissions.

Stirling Council confirms that there are no new or newly identified local developments which may have an impact on air quality within the Local Authority area. Stirling Council confirms that all the following have been considered – Road traffic sources Other transport sources Industrial sources Commercial and domestic sources New developments with fugitive or uncontrolled sources.

# Local / Regional Air Quality Strategy

A Local Air Quality Strategy was produced in 2006. There are currently no plans for further developments to the Strategy.

# Planning Applications

The following new developments have been granted planning permission within the Stirling Council area.

Most of the new developments are likely to have some impact on local air quality. Emissions of dust and particulate matter are likely to occur during the construction phases of the new building developments. During the construction phase there will also be an increase in HGV traffic in the vicinity of the development sites. Increased volumes of HGV traffic may result in an increase in local particulate concentrations due to both the use of diesel fuel and through dust from construction.

Following completion of new housing, retail or industrial developments, it is possible that there will be a local increase in road traffic due to increased domestic residents or customers and visitors to business or retail units. The exact number of vehicles will depend on the scale of the development and the overall impact will depend on the increased volume of traffic on the affected roads.

It is concluded that these proposed developments would have a minimal impact on local air quality.

New developments:

New mixed use development with total floor area of 18,000-19,700 m2 comprising civic, commercial, retail, private residential, library, hotel, restaurant, affordable residential and commercial parking use at land at Station Road, Stirling

Erection of supermarket in principle at site of former MFI Furniture Store, 1 Maitland Crescent, St Ninians, Stirling

New development of 60 residential flats and associated facilities at land and buildings at 32 Baker Street and Dalgleish Court Stirling

Proposed erection of 35 new dwelling houses at former Stirling High School, Ogilvie Road, Torbrex, Stirling

Erection of waste management centre and office block at land some 200m west of Polmaise Recycling Centre, Fallin

Erection of 18 new dwelling houses at land and buildings at former St Modans High School, Barnsdale Road, St Ninians, Stirling

Erection of new boilerhouse for district heating scheme using woodchip and oil boilers at land some 30m south west of 5 Lyon Crescent, Bridge Of Allan

The following applications have been received and are currently being considered:

Proposed 60 dwelling mixed tenure residential development with ancillary works including associated access, necessary infrastructure works, parking and landscaping at land at Anchorscross to north and west of Mackenzie Court, Dunblane (not yet approved)

Erection of a waste to energy facility comprising a unit to sort pre-approved wastes for recycling or reprocessing and a processing plant generating energy from suitable wastes, formation of an access via a new roundabout and traffic calming measures on the A705 for Throsk and formation of a new district heating main utilising hot water generated as a by-product of the main processes at land adjacent to west of Bandeath Lodge, Throsk (not yet approved)

The proposed waste to energy facility could impact on local air quality and will require both planning permission and a permit under the Pollution Prevention and Control (Scotland) Regulations 2000 (PPC) from SEPA before it can operate. SEPA require the applicant to use advanced air quality modelling techniques to predict the effect of emissions and would then assess these results to ensure that any effect on air quality is within acceptable levels.

# Air Quality Planning Policies

Stirling Council has produced a Sustainable Development Strategy and Action Plan which outlines several policies which will have an indirect effect of minimising local atmospheric emissions. Central to the emission reductions are the land-use planning and transport objectives which aim at reducing the need to travel and providing communities with adequate access to all services (education, health, retail, public transport, leisure and recreation).

A new Local Development Plan is in the process of being prepared. At present, the following policies in the current Development Plan relate to air quality:

From the 2002 Structure Plan:

Policy TR1: Integrated Transport - The Structure Plan supports the objectives and targets of the Local Transport Strategies. In the preparation of Local Plans, assessment of development proposals and the further development of transport strategies, and working with neighbouring councils as appropriate, the Councils will seek to:

1.	Reduce the need to travel by requiring developments which generate a large number of trips to locate within or adjacent to town centres. Where this is demonstrated not to be appropriate, development will require to be located in areas which have good public transport access and additionally may have access to the major road network and are supported by appropriate local facilities;

2. 	Improve transport choice and accessibility through promotion of alternatives to the car including cycling, walking and public transport whilst seeking to improve road and personal safety.

3. 	Sustain and enhance town and local centres through comprehensive traffic management and clear parking policies.

4. 	Ensure appropriate developer responsibility for transport assessments, with appropriate mitigation of adverse impacts and the preparation and implementation of green transport plans. Section 75 agreements (or other legal agreements) will be used where appropriate.

5. 	Reduce Environmental Impact through appropriate monitoring and management of air quality, noise pollution and congestion.

From the 1999 Local Plan:

POL.E60: Development proposals likely to involve effluent discharges, emissions to the atmosphere or land-filling of waste must be accompanied by an Environmental Assessment, or other supporting information, indicating satisfactory means of disposal or recycling.

# Local Transport Plans and Strategies

Stirling Council’s Local Transport Strategy (LTS) is an umbrella document encompassing the City Transport Strategy, the National Park Transport Strategy and the Smaller Towns and Villages Transport Strategy. It lays down a policy framework for sustainable transportation, and the individual supporting strategies outline how projects, plans and services will be used on the ground to turn policy into action.

Levels of NO2 and PM10 are listed as a sustainability development indicator for environmental services. The Council Travel Plan, provision of supplementary planning guidance, promotion of green travel plans for industry, business and commercial sites as well as the proposed review of fuel use by the council fleet in addition to the local structure and transport strategies are all likely to aid the minimisation of local air quality impacts from transport and industry.

A mid-term review of the Local Transport Strategy has been carried out. It concluded that the majority of the LTS indicators were on track, including decreasing traffic volumes in the city and increasing average speeds, which could have a positive effect on air quality. However, the Council is in the process of preparing a Local Development Plan which includes proposed development allocations in and around the city area between 2013 and 2033. If these developments occur it is anticipated that traffic volumes in the city will increase by 20 – 28% for light vehicles and by 35 – 44% for heavy goods vehicles. The delivery packages of the LTS are currently being reviewed with a view to minimise the impact of any development on traffic volumes, congestion and consequently air quality. The review processes will highlight locations where increased traffic could be expected, and so additional traffic monitoring may be introduced to help determine if additional air quality monitoring would be required at new sites.

# Climate Change Strategies

Stirling Council is working in partnership with Going Carbon Neutral Stirling.

(www.goingcarbonneutralstirling.org.uk)

Going Carbon Neutral Stirling is a behaviour change model which aims:

•	To create, sustain and evaluate meaningful and collaborative carbon reduction through the Carbon Cutter Plan

• 	To achieve between 8% to 10% CO2 reductions each year

• 	To create a tipping point in Stirling by engaging over a third of the region’s population

• 	To create a toolkit of best practice which can then be used elsewhere in thecountry

• 	To inspire and support politicians who make choices which protect our population against the impacts of climate change

•	To promote a greater sense of wellbeing in Stirling

Going Carbon Neutral Stirling design Carbon Cutter plans on an individual basis or in a group setting. A Carbon Cutter Plan (CCP) is a weekly/monthly plan of actions which reduce emissions and help people live a low carbon lifestyle. All the actions help slow climate change, but some will also reduce pollution, help save money on fuel bills, minimise waste sent to landfill and help promote the personal health benefits of cycling, walking and eating local food as well as helping to create safer and better connected communities.

Carbon Management Plan

In conjunction with the Carbon Trust, Stirling Council has created a plan to decrease carbon emissions within the Council. This plan covers many areas of emissions: lighting, heating, waste, travel etc and has the potential to reduce carbon emissions by 23% over 5 years.

The council is also creating new frameworks for local housing, local development and strategic environment assessments. Stirling is continuing to develop recycling solutions for residents. This includes the introduction of food waste recycling.

# Implementation of Action Plans

As Stirling Council currently does not have an AQMA, an action plan has not been

implemented.

# Conclusions and Proposed Actions

## Conclusions from New Monitoring Data

During 2010, Stirling Council undertook monitoring of NO2 and PM10 concentrations at various locations. The results indicate that the NO2 air quality objectives were met during 2010 at all monitoring locations. Measured NO2 concentrations during 2007, 2008, 2009 and 2010 are similar, with no significant increase or decrease identified at most sites. The annual mean PM10 concentration of 17μg/m3 was below the objective of 18μg/m3 by 1μg/m3and shows a decrease from the 2009 figure of 19 μg/m3.  There are no existing AQMAs within the Council area.

It is therefore concluded that a Detailed Assessment is not required at present because of monitoring data.

## Conclusions relating to New Local Developments

There are no new local developments which will require more detailed consideration in the next Updating and Screening Assessment and none which would give rise to the need for a Detailed Assessment.

## Other Conclusions

A planning application for the erection of a waste to energy facility comprising a unit to sort pre-approved wastes for recycling or reprocessing and a processing plant generating energy from suitable wastes, formation of an access via a new roundabout and traffic calming measures on the A705 for Throsk and formation of a new district heating main utilising hot water generated as a by-product of the main processes at land adjacent to west of Bandeath Lodge, Throsk is under consideration. If this development is approved, it will require more detailed consideration in the next Updating and Screening Assessment.

## Proposed Actions

The assessment has identified that it is not necessary to proceed to a Detailed Assessment for any pollutant.

No new areas where additional monitoring is required have been identified.

No further action is required; therefore, the next report to be required is the 2012 Updating and Screening Assessment.

# References

Defra et al, 2009. Local Air Quality Management, Technical Guidance LAQM.TG(09).

Appendices

Appendix A: QA/QC Data

Appendix B: Maps of Stirling Council area and monitoring locations

Appendix C: Tables of NO2 diffusion tube results and bias adjustment calculations

Appendix A: QA:QC Data

Diffusion Tube Bias Adjustment Factors

Factor from Local Co-location Studies

A local co-location study was carried out at the Craigs Roundabout automatic monitoring site using triplicate NO2 diffusion tubes. The bias adjustment factor from the local co-location study was found to be 1.08 (see table in Appendix C).

Discussion of Choice of Factor to Use

The national bias adjustment factor was calculated to be 1.1 (see table in Appendix C). This was close to the local adjustment factor of 1.08. As the precision for the local study was found to be good, it was decided that the local factor of 1.08 should be used.

PM Monitoring Adjustment

AEA has been funded by The Scottish Government to provide Volatile Correction Model (VCM) corrected TEOM (Tapered Element Oscillating Microbalance) data to Local Authorities under the Scottish Air Quality Database and Website (SAQD) project.

The VCM uses purge (volatile) particulate matter measurements provided by FDMS (Filter Dynamics Measurement System) instruments located within 130 km of the TEOM in question to assess the loss of particulate matter (PM10) from the TEOM. The TEOM measurements are then corrected to ambient pressure and temperature using meteorological data from met monitoring sites within 260 km of the TEOM. The volatile fraction is then added back onto the TEOM measurements to give Gravimetric Equivalent mass concentrations. Hourly average purge measurements from all Scottish FDMS monitoring sites within the Scottish Government-run network (SAQD) and the national network (AURN) were used for the correction.

QA/QC of automatic monitoring

The automatic monitoring equipment is audited every 6 months by AEA, Glengarnock Technology Centre, Lochshore Business Park, Glengarnock. It is serviced and calibrated by Casella Measurement.

QA/QC of diffusion tube monitoring

The NO2 diffusion tubes used by Stirling Council were prepared and analysed by the City of Edinburgh Council Scientific Services Laboratory using the harmonised method ED48673043 Issue 1a, Feb 2008, with a few minor changes which have been approved by AEA. The Laboratory is UKAS accredited and has good performance in both WASP and NETCEN QA schemes. The laboratory demonstrated satisfactory performance in the Workplace Analysis Scheme for Proficiency (WASP) over the past five quarterly rounds.

Appendix B: Maps of Stirling Council area and monitoring locations

Appendix C: Tables of NO2 diffusion tube results and bias adjustment calculations

|  | Jan-10 | Feb-10 | Mar-10 | Apr-10 | May-10 | Jun-10 | Jul-10 | Aug-10 | Sep-10 | Oct-10 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Dumbarton Road | 51 | 49.2 | 38 | 36.8 | 28.3 | 30.8 | 27.8 | 34.3 | 35.4 | 35 |
| Port Street | 38.5 |  | 24 | 28 | 21.4 | 27 | 23.8 | 26.9 | 30.4 | 31 |
| Craigs | 41.8 | 42.6 | 33.2 | 34.9 | 28.4 | 25.6 | 23.8 | 24.3 | 31.9 | 35.2 |
| Craigs A | 34.8 | 35.7 | 32.9 | 23.1 | 20.6 | 21.6 | 20 | 21.3 | 24.5 | 27.8 |
| Craigs B | 37.1 | 36.1 | 25.3 | 28 | 17.7 | 22.8 | 18.9 | 20.7 | 24.7 | 18.2 |
| Craigs C | 36.4 | 36.3 | 31.3 | 26.8 | 17.9 | 21.1 | 19.2 | 21.6 | 24.4 | 28.4 |
| Lennox Avenue | 27.4 | 25.2 | 19.2 | 15.8 | 9.7 | 11.8 | 9 | 11.8 | 14.8 | 20.3 |
| Barnsdale Road | 24.3 | 27.9 | 24.9 | 14.9 | 12 |  | 12.8 | 12.9 | 13.9 | 23.2 |
| Plean | 28.9 | 38 | 27.7 | 22.1 | 13.4 | 17.8 | 14.1 | 18.2 | 22.8 | 23.9 |
| Alloa Road | 37.7 | 40.6 | 36.8 | 32.8 | 27.2 | 31.2 | 20.5 | 26.6 | 29.3 | 36.8 |
| Bridge of Allan | 37.7 | 38.1 | 34.2 | 30.1 | 20.7 | 21.6 | 19.2 | 19.5 | 18.6 | 31.6 |
| Dunblane | 33.1 | 33.7 | 23.8 | 17 | 14.5 | 10.8 | 13.3 | 16.1 |  | 23.8 |

NO2 tubes

Triplicate Tubes

| Tube on | Tube off | Craigs A | Craigs B | Craigs C |  | AURN Site | NO2 Annual Mean | NO2 Period Mean | Factor |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 07/01/2010 | 28/01/2010 | 34.8 | 37.1 | 36.4 |  | Grangemouth | 16 | 16 | 1.00 |
| 28/01/2010 | 03/03/2010 | 35.7 | 36.1 | 36.3 |  | Bush | 9 | 8 | 1.13 |
| 03/03/2010 | 31/03/2010 | 32.9 | 25.3 | 31.3 |  | Edinburgh St Leonards | 31 | 27 | 1.15 |
| 31/03/2010 | 27/04/2010 | 23.1 | 28 | 26.8 |  | Average Factor: |  |  | 1.09 |
| 27/04/2010 | 03/06/2010 | 20.6 | 17.7 | 17.9 |  |  |  |  |  |
| 03/06/2010 | 29/06/2010 | 21.6 | 22.8 | 21.1 |  | Period - 07/01/10 to 30/09/10 |  |  |  |
| 29/06/2010 | 04/08/2010 | 20 | 18.9 | 19.2 |  | Annual - 07/01/10 to 06/01/11 |  |  |  |
| 04/08/2010 | 01/09/2010 | 21.3 | 20.7 | 21.6 |  |  |  |  |  |
| 01/09/2010 | 30/09/2010 | 24.5 | 24.7 | 24.4 |  |  |  |  |  |
| 30/09/2010 | 08/11/2010 | 27.8 |  | 28.4 |  |  |  |  |  |
| Average: |  | 26 | 26 | 26 |  |  |  |  |  |
| Annualised Average: |  | 29 | 29 | 29 | 29 | Bias Adjustment: | 1.10 | Automatic annual mean divided by diff tube annualised |
| Average between two dates |  |  |  |  |  |  |  |  |  |
| Site name | Channel | Start date | End date | Average | Data capture |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 07/01/2010 | 31/12/2010 | 31 | 90.9 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 07/01/2010 | 28/01/2010 | 50 | 67.1 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 28/01/2010 | 03/03/2010 | 45 | 91.7 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 03/03/2010 | 31/03/2010 | 41 | 89 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 31/03/2010 | 27/04/2010 | 26 | 93.7 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 27/04/2010 | 03/06/2010 | 15 | 91.9 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 03/06/2010 | 29/06/2010 | 14 | 92.2 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 29/06/2010 | 04/08/2010 | 20 | 94 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 04/08/2010 | 01/09/2010 | 23 | 92.9 |  |  |  |  |
| Craigs Roundabout, Stirling | Nitrogen Dioxide | 01/09/2010 | 30/09/2010 | 29 | 90.5 |  |  |  |  |
|  |  |  | Annual Average: | 32 | 91.1% |  |  |  |  |